## SNCImport
CBCT - Gantry Iso X (mm) | #DIV/0!
CBCT - Gantry Iso Y (mm) | #DIV/0!
CBCT - Gantry Iso Z (mm) | #DIV/0!
Table + Gantry Iso X (mm) | #DIV/0! | To re-calculate spreadsheet in Excel: 1: CTRL-ALT-F9 to calculate values 2: Set Excel's Solver to use "Evolutionary" (not "GRG Nonlinear") 3: Run the solver on each of the Analysis and Collimator sheets
Table + Gantry Iso Z (mm) | #DIV/0!
Gantry Flex (mm)
Col-Gantry misalignment (mm) | #DIV/0!
MLC offset (mm)
Table Isocentricity (mm) | 0
Gantry Isocentricity (mm) | 0
Collimator Isocentricity (mm) | 0
Maximum R (mm) | -1
Maximum R Table 0 (mm) | 0

## Data
Winston-Lutz Field Data | Data Date: NA | Analysis Date: NA
machine id | field name | status | table yaw | gantry angle | coll angle | X offset corrected box-ball | Y offset corrected box-ball | XY offset corrected | X box center corrected | Y box center corrected | X tongue and groove correction | Y tongue and groove correction | X ball center | Y ball center | box left uncorrected | box right uncorrected | box top uncorrected | box bottom uncorrected | X box center uncorrected | Y box center uncorrected | Patient ID | Patient Name | Instance (slice) UID | Series UID
NA | NA | NA | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | NA | NA | NA | NA
NA | NA | NA | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | NA | NA | NA | NA
NA | NA | NA | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | NA | NA | NA | NA
NA | NA | NA | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | NA | NA | NA | NA
NA | NA | NA | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | NA | NA | NA | NA
NA | NA | NA | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | NA | NA | NA | NA
NA | NA | NA | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | NA | NA | NA | NA
NA | NA | NA | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | NA | NA | NA | NA
NA | NA | NA | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | NA | NA | NA | NA
NA | NA | NA | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | NA | NA | NA | NA
NA | NA | NA | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | NA | NA | NA | NA
NA | NA | NA | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | NA | NA | NA | NA
NA | NA | NA | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | NA | NA | NA | NA
NA | NA | NA | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | NA | NA | NA | NA
NA | NA | NA | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | NA | NA | NA | NA
ballCBCT
x (mm) | y (mm) | z (mm) |  |  |  | To re-calculate spreadsheet in Excel: 1: CTRL-ALT-F9 to calculate values 2: Set Excel's Solver to use "Evolutionary" (not "GRG Nonlinear") 3: Run the solver on each of the Analysis and Collimator sheets
0 | 0 | 0
0 | 0 | 0 | AcqIsocenter
0 | 0 | 0 | Ball

## Preprocess
Winston-Lutz Field Data | Data Date: NA | Analysis Date: NA
machine id | field name | status | gantry angle | coll angle | table yaw | X offset corrected box-ball | Y offset corrected box-ball | XY offset corrected | X box center corrected | Y box center corrected | X tongue and groove correction | Y tongue and groove correction | X ball center | Y ball center | box left uncorrected | box right uncorrected | box top uncorrected | box bottom uncorrected | X box center uncorrected | Y box center uncorrected | Patient ID
NA | NA | NA | -1 | -1 | 361 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | NA
NA | NA | NA | -1 | -1 | 361 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | NA
NA | NA | NA | -1 | -1 | 361 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | NA
NA | NA | NA | -1 | -1 | 361 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | NA
NA | NA | NA | -1 | -1 | 361 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | NA
NA | NA | NA | -1 | -1 | 361 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | NA
NA | NA | NA | -1 | -1 | 361 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | NA
NA | NA | NA | -1 | -1 | 361 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | NA
NA | NA | NA | -1 | -1 | 361 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | NA
NA | NA | NA | -1 | -1 | 361 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | NA
NA | NA | NA | -1 | -1 | 361 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | NA
NA | NA | NA | -1 | -1 | 361 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | NA
NA | NA | NA | -1 | -1 | 361 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | NA
NA | NA | NA | -1 | -1 | 361 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | NA
NA | NA | NA | -1 | -1 | 361 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | NA
Sorted |  |  | gantry angle | coll angle | table yaw | X offset corrected box-ball | Y offset corrected box-ball
|  |  | -1 | -1 | 361 | -1 | -1
|  |  | -1 | -1 | 361 | -1 | -1
|  |  | -1 | -1 | 361 | -1 | -1
|  |  | -1 | -1 | 361 | -1 | -1
|  |  | -1 | -1 | 361 | -1 | -1
|  |  | -1 | -1 | 361 | -1 | -1
|  |  | -1 | -1 | 361 | -1 | -1
|  |  | -1 | -1 | 361 | -1 | -1
|  |  | -1 | -1 | 361 | -1 | -1
|  |  | -1 | -1 | 361 | -1 | -1
|  |  | -1 | -1 | 361 | -1 | -1
|  |  | -1 | -1 | 361 | -1 | -1
|  |  | -1 | -1 | 361 | -1 | -1
|  |  | -1 | -1 | 361 | -1 | -1
|  |  | -1 | -1 | 361 | -1 | -1

## Analysis
Gantry | [17 empty] | MLC offset
Gantry angle | Collimator angle | Table angle | X offset corrected box-ball | Y offset corrected box-ball | CA-X | CA-Y | CA-Z | Coll-X | Coll-Y | Coll-Z | ISO-X | ISO-Y | ISO-Z | Gantry flex | Coll-Gantry-misalign | MLC-dx | MLC-dy | #VALUE! | #VALUE! |  | X (mm) | Y (mm) | Z (mm)
-1 | -1 | 0 | [8 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | CBCT origin relative to BB at table zero | 0 | 0 | 0
-1 | -1 | 361 | [13 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Gantry isocenter relative to BB at table zero | #DIV/0! | #DIV/0! | #DIV/0!
-1 | -1 | 361 | [13 empty] | #VALUE! | #VALUE! |  |  | Table axis relative to BB at table zero | -1 |  | -1
-1 | -1 | 361 | [9 empty] | ΔX | ΔY | ΔZ |  | #VALUE! | #VALUE!
-1 | -1 | 361 | [9 empty] | 0 | 0 | 0 |  | #VALUE! | #VALUE!
-1 | -1 | 361 | [11 empty] | 0 | Gantry Isocentricity | #VALUE! | #VALUE!
-1 | -1 | 361 | [13 empty] | #VALUE! | #VALUE!
-1 | -1 | 361 | [13 empty] | #VALUE! | #VALUE!
-1 | -1 | 361 | [13 empty] | #VALUE! | #VALUE!
[10 empty] | #VALUE! |  |  |  | Max square of BB displacement |  | -> | 0 | Solve for smallest max (Couch Isocentricity)
Table |  |  |  |  | CA-X | CA-Z | BB-X | BB-Z | BB-X' | BB-Z' | dX | dZ | Table-X | Table-Z | BB-X" | BB-Z" | BB-R"^2
-1 | -1 | 361 |  |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | -1 | -1 | -1 | -1 | #VALUE! | #VALUE!
-1 | -1 | 361 |  |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | -1.0173 | -0.9824 |  |  | #VALUE! | #VALUE!
-1 | -1 | 361 |  |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | -1.0173 | -0.9824 |  |  | #VALUE! | #VALUE!
-1 | -1 | 361 |  |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | -1.0173 | -0.9824 |  |  | #VALUE! | #VALUE!
-1 | -1 | 361 |  |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | -1.0173 | -0.9824 |  |  | #VALUE! | #VALUE!
-1 | -1 | 361 |  |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | -1.0173 | -0.9824 |  |  | #VALUE! | #VALUE!
-1 | -1 | 361 |  |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | -1.0173 | -0.9824 |  |  | #VALUE! | #VALUE!
[11 empty] | Coordinates in rotated system |  |  |  | BB coordinates after minimization |  | sum of squars x^2 +y^2 for each table angle
ballCBCT
x (mm) | y (mm) | z (mm)
0 | 0 | 0
CBCT-ball-table0
x | y | z
0 | 0 | 0

## Collimator
[5 empty] | Max square of CA displacement -> |  |  |  | 0 | Solve for smallest max (Collimator Isocentricity)
Collimator |  |  | CA-X | CA-Z | Coll-X | Coll-Z | CA-X'' | CA-Z'' | CA-R''^2
-1 | -1 | 361 |  |  | -1 | -1 | #VALUE! | #VALUE!
-1 | -1 | 361 |  |  |  |  | #VALUE! | #VALUE!
-1 | -1 | 361 |  |  |  |  | #VALUE! | #VALUE!

## Report
Date and Time | Machine | CBCT-> | CBCT-> | CBCT-> | Table Axis-> | Table Axis-> | Gantry flex | Coll-Gantry-misalign | MLC offset | Table wobble
|  | Gantry Isocenter | Gantry Isocenter | Gantry Isocenter | Gantry Isocenter | Gantry Isocenter |  | Gantry |  | diameter
|  | X (mm) | Y (mm) | Z (mm) | X (mm) | Z (mm) | (mm) | (mm) | (mm) | (mm)
Data Date: NA | TB3 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! |  | 0

## Instructions
Insert Data:
| 1 | Use Data worksheet
| 2 | use QASRSWL patient; take CBCT and make shifts. After initial CBCT take a second CBCT
| 3 | Shoot MV images in the order shown on the DATA worksheet
| 4 | Find the centroid of the radiation target ball in the contouring spreadsheet.
|  | 4a | Make a high resolution structure
|  | 4b | Set the "apply area" around the ball pretty tight
|  | 4c | Use thresholding contouring; for cermaic ball use threshold of 1000-7000, for tungsten ball use 6000-7000 threshold
|  | 4d | Use centroid report tool in eclipse to find center of ball and origin of acquired image; Make sure to use the correct image, the tool will usually report the data from the first CBCT, and you want data from the last (probably)
| 5 | Find center of ball in second CBCT (after move) and insert ball centroid and origin in A23-C24
| 6 | Copy the data from A1-Y17 area, the order of table, gantry and collimator must be maintained
| 8 | In Analysis worksheet go to the data menu in excel and select solver. If Solver is not installed, install it. Press the solve button.
| 9 | In the Collimator worksheet go to the data menu in excel and select solver. Press the solve button.
| 10 | If everything has gone well the report worksheet should contain the results of the analysis
| 11 | Go to the first sheet, labelled "SNCImport", save it as a CSV, and upload it into SunCHECK